## Spare Parts
part_id | name | category | compatible_model | lead_time_days | unit_price_usd | notes
P-1001 | Mechanical seal | Sealing | CP-200 / CP-250 | 14 | 185 | Replace if leakage exceeds 5 ml/hr; PART_OF annual seal replacement.
P-1002 | Deep groove ball bearing | Bearing | CP-200 series | 7 | 62.5 | REQUIRES re-greasing every 1000 hours; replace at first sign of vibration.
P-1003 | Impeller (cast iron) | Hydraulic | CP-250 | 21 | 410 | Inspect for cavitation pitting; CAUSED_BY low NPSHa.
P-1004 | Foot valve, 2 inch | Suction | All centrifugals | 5 | 78 | Clogged foot valve is a common SYMPTOM_OF loss of prime.
P-1005 | Thermal overload relay | Electrical | Motor starter MS-30 | 3 | 92 | Tripped relay is a SYMPTOM_OF seized impeller or excessive load.
P-1006 | Coupling alignment shim kit | Alignment | Universal | 2 | 24 | Used when MITIGATING excessive vibration via re-alignment.
P-1007 | Cooling fan, axial 120mm | Cooling | Motor frame 132M | 5 | 45 | Blocked fan CAUSED_BY dust buildup leads to motor overheating.
P-1008 | O-ring set (Viton) | Sealing | CP-200 / CP-250 | 2 | 12.5 | Replace at every overhaul; PART_OF preventive maintenance plan.
P-1009 | Pressure gauge, 0-10 bar | Instrumentation | Universal | 4 | 38 | Calibrate annually; RELATED_TO discharge head verification.
P-1010 | Suction strainer, SS304 | Suction | All centrifugals | 6 | 56 | Prevents debris ingress; reduces risk of impeller damage.

## Vendors
vendor_id | name | region | lead_time_days | specialty
V-01 | AcmePump Spares | APAC | 10 | Hydraulics, impellers
V-02 | ElectroCore Ltd. | EMEA | 6 | Motor starters, relays
V-03 | SealTech Inc. | AMER | 8 | Mechanical seals, O-rings